## Hourly
HOURLY READINGS
TIME | FLOW | Before WET WELL | After WET WELL | Under flow | TOT WAS | RAW SEWAGE PUMPS | RETURN SLUDGE PUMPS | INF PH | PRI. PUMPS | RAS | Screws # ON | ABF # ON | Blowers # ON | AMPS | KW | Potable Water Pressure | Eff TSS | H2S
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00
DAILY AVG. | Empty | Empty | Empty | Empty | Empty | - | - | Empty | - | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty
MAX | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MIN | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | [14 empty] | 0

## Clarifier
| NORTH BASIN | [6 empty] | SOUTH BASIN | [6 empty] | NORTH CLAR. |  |  |  | SOUTH CLAR. |  |  |  | NORTH RAS |  |  |  | SOUTH RAS
TIME | 1 | 3 | 5 | 7 | 9 | 11 | 13 | 1 | 3 | 5 | 7 | 9 | 11 | 13 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00
DAILY AVG. | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty | Empty
Basin Total Flow | 0
Total Underflow | 0
Clarifier Total Flow | 0

## Outfall
Operator Initials | Time** | Safe to make Observation? |  | Floatable Present ? |  | Scum Present? |  | Foam Present? |  | Oily Slick Present?
|  | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No

## PAA and pH
| Shift: 7am-3pm |  |  | Shift: 3pm-11pm |  |  | Shift: 11pm-7am
Disinfection Tank Location | PRE | MID | Post | PRE | MID | Post | PRE | MID | Post
PAA Residual
Shift Average | Empty |  |  | Empty |  |  | Empty
Daily Average | Empty
| Shift: 7am-3pm |  |  | Shift: 3pm-11pm |  |  | Shift: 11pm-7am
Location | Pri Sldg | Sec Dwt | Return Sludge | Pri Sldg | Sec Dwt | Return Sludge | Pri Sldg | Sec Dwt | Return Sludge
pH
Shift Average | Empty |  |  | Empty |  |  | Empty
Daily Average | Empty

## Effluent Flow & COD
Time | Effuent Flow (MGD) | Final COD (mg/L)
0:00
1:00
2:00
3:00
4:00
5:00
6:00
7:00
8:00
9:00
10:00
11:00
12:00
13:00
14:00
15:00
16:00
17:00
18:00
19:00
20:00
21:00
22:00
23:00
AVG. | Empty | Empty
MAX | 0 | 0
MIN | 0 | 0

## Lagoon
| 7am-3pm | 3pm-11pm | 11pm-7am | Lagoon Sludge Temp
FLARE #1 |  |  |  | Shift | 2A |  | 2C | 1
FLARE #2 |  |  |  | 2011-11-07
FLARE #3 |  |  |  | 2011-07-03
FLARE #4 |  |  |  | 2011-03-11
FLARE #5 |  |  |  | AVG | Empty | Empty | Empty | Empty
|  |  |  | Avg. of All Lagoons Temp: |  |  |  | Empty

## Daily Data
T.E. Maxson Daily Data
Primary Blankets | [7 empty] | Settlometer |  |  |  |  | # In Service
TIME | FLOW | #1 | #2 | #3 | #4 | AVG |  | Time | North | South |  |  | Pri. Clarifiers
hh:mm | [5 empty] | Empty |  | 5 |  |  |  |  | ABF Towers
hh:mm | [5 empty] | Empty |  | 10 |  |  |  |  | Lrg. Basin
hh:mm | [5 empty] | Empty |  | 15 |  |  |  |  | Sm. Basin
| . | [6 empty] | 20 |  |  |  |  | Total Basins
[8 empty] | 25 |  |  |  |  | Sec. Clarifiers
[8 empty] | 30 |  |  |  |  | Blowers
Secondary Blankets | [13 empty] | Blower | 1 | 2C | Avg H2S
|  | North |  |  |  |  | South | [6 empty] | Volume of Biogas
TIME ** | Inf Flow | #1 | #2 | #3 | #4 | #5 | #1 | #2 | #3 | #4 | #5 | AVG
hh:mm | [11 empty] | Empty
hh:mm | [11 empty] | Empty | Temperature | Sludge pH | RAS | Primary
hh:mm | [11 empty] | Empty | TOWERS | Max
** All Blanket times must be entered in hh:mm format military time | [11 empty] | 0 | BASINS | Min

## Basin DO Profile
Basin D.O. Profile
North
| 2 | 4 | 6 | 8 | 10 | 12 | 14 | AVG
Handheld | [7 empty] | Empty
Probes | [7 empty] | Empty
South
| 2 | 4 | 6 | 8 | 10 | 12 | 14 | AVG
Handheld | [7 empty] | Empty
Probes

## Summary - Print
Flows
Inf Flow | Empty
Tot Basin | 0
Tot Clarifier | 0
Tot Underflow | 0
Tot Wasting | Empty
Plant pH
Max | 0
Min | 0
Power
Max KW | 0
Total KW | 0

## Hourly Data (hidden)
Sampled Date | Parameter | Reported Result | Unit | Sample Location
#REF! | Hourly Flow (00:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (01:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (02:00) | #REF! | MGD | TEM Influent
#REF! | Hourly Flow (03:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (04:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (05:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (06:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (07:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (08:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (09:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (10:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (11:00) | #REF! | MGD | TEM Influent
#REF! | Hourly Flow (12:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (13:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (14:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (15:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (16:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (17:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (18:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (19:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (20:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (21:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (22:00) |  | MGD | TEM Influent
#REF! | Hourly Flow (23:00) |  | MGD | TEM Influent

## Data (hidden)
Sampled Date | Parameter | Reported Result | Unit | Sample Location | Shift | Time | Instrument
#REF! | Blankets |  | Feet | TEM Primary Clarifier #1 | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM Primary Clarifier #1 | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM Primary Clarifier #1 | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM Primary Clarifier #2 | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM Primary Clarifier #2 | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM Primary Clarifier #2 | #VALUE! | #VALUE!
#REF! | Blankets | #REF! | Feet | TEM Primary Clarifier #3 | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM Primary Clarifier #3 | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM Primary Clarifier #3 | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM Primary Clarifier #4 | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM Primary Clarifier #4 | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM Primary Clarifier #4 | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM 1N Secondary Clarifier | 11 to 7 | 0:00
#REF! | Blankets |  | Feet | TEM 1N Secondary Clarifier | 7 to 3 | #VALUE!
#REF! | Blankets |  | Feet | TEM 1N Secondary Clarifier | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM 2N Secondary Clarifier | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM 2N Secondary Clarifier | 7 to 3 | #VALUE!
#REF! | Blankets |  | Feet | TEM 2N Secondary Clarifier | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM 3N Secondary Clarifier | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM 3N Secondary Clarifier | 7 to 3 | #VALUE!
#REF! | Blankets |  | Feet | TEM 3N Secondary Clarifier | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM 4N Secondary Clarifier | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM 4N Secondary Clarifier | 7 to 3 | #VALUE!
#REF! | Blankets | #REF! | Feet | TEM 4N Secondary Clarifier | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM 1S Secondary Clarifier | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM 1S Secondary Clarifier | 7 to 3 | #VALUE!
#REF! | Blankets |  | Feet | TEM 1S Secondary Clarifier | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM 2S Secondary Clarifier | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM 2S Secondary Clarifier | 7 to 3 | #VALUE!
#REF! | Blankets |  | Feet | TEM 2S Secondary Clarifier | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM 3S Secondary Clarifier | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM 3S Secondary Clarifier | 7 to 3 | #VALUE!
#REF! | Blankets |  | Feet | TEM 3S Secondary Clarifier | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM 4S Secondary Clarifier | #VALUE! | #VALUE!
#REF! | Blankets |  | Feet | TEM 4S Secondary Clarifier | 7 to 3 | #VALUE!
#REF! | Blankets |  | Feet | TEM 4S Secondary Clarifier | #VALUE! | #VALUE!
#REF! | Status |  |  | TEM Flare #1 | 7 to 3 | 16:23
#REF! | Status |  |  | TEM Flare #1 | 3 to 11 | 16:23
#REF! | Status |  |  | TEM Flare #1 | 11 to 7 | 16:23
#REF! | Status |  |  | TEM Flare #2 | 7 to 3 | 16:23
#REF! | Status |  |  | TEM Flare #2 | 3 to 11 | 16:23
#REF! | Status |  |  | TEM Flare #2 | 11 to 7 | 16:23
#REF! | Status |  |  | TEM Flare #3 | 7 to 3 | 16:23
#REF! | Status |  |  | TEM Flare #3 | 3 to 11 | 16:23
#REF! | Status |  |  | TEM Flare #3 | 11 to 7 | 16:23
#REF! | Status |  |  | TEM Flare #4 | 7 to 3 | 16:23
#REF! | Status |  |  | TEM Flare #4 | 3 to 11 | 16:23
#REF! | Status |  |  | TEM Flare #4 | 11 to 7 | 16:23
#REF! | Status |  |  | TEM Flare #5 | 7 to 3 | 16:23
#REF! | Status |  |  | TEM Flare #5 | 3 to 11 | 16:23
#REF! | Status |  |  | TEM Flare #5 | 11 to 7 | 16:23
#REF! | Flare Smoke |  |  | TEM Flare #1 | 7 to 3 | 16:23
#REF! | Flare Smoke |  |  | TEM Flare #1 | 3 to 11 | 16:23
#REF! | Flare Smoke |  |  | TEM Flare #1 | 11 to 7 | 16:23
#REF! | Flare Smoke |  |  | TEM Flare #2 | 7 to 3 | 16:23
#REF! | Flare Smoke |  |  | TEM Flare #2 | 3 to 11 | 16:23
#REF! | Flare Smoke |  |  | TEM Flare #2 | 11 to 7 | 16:23
#REF! | Flare Smoke |  |  | TEM Flare #3 | 7 to 3 | 16:23
#REF! | Flare Smoke |  |  | TEM Flare #3 | 3 to 11 | 16:23
#REF! | Flare Smoke |  |  | TEM Flare #3 | 11 to 7 | 16:23
#REF! | Flare Smoke |  |  | TEM Flare #4 | 7 to 3 | 16:23
#REF! | Flare Smoke |  |  | TEM Flare #4 | 3 to 11 | 16:23
#REF! | Flare Smoke |  |  | TEM Flare #4 | 11 to 7 | 16:23
#REF! | Flare Smoke |  |  | TEM Flare #5 | 7 to 3 | 16:23
#REF! | Flare Smoke |  |  | TEM Flare #5 | 3 to 11 | 16:23
#REF! | Flare Smoke |  |  | TEM Flare #5 | 11 to 7 | 16:23
#REF! | Flare Color |  |  | TEM Flare #1 | 7 to 3 | 16:23
#REF! | Flare Color |  |  | TEM Flare #1 | 3 to 11 | 16:23
#REF! | Flare Color |  |  | TEM Flare #1 | 11 to 7 | 16:23
#REF! | Flare Color |  |  | TEM Flare #2 | 7 to 3 | 16:23
#REF! | Flare Color |  |  | TEM Flare #2 | 3 to 11 | 16:23
#REF! | Flare Color |  |  | TEM Flare #2 | 11 to 7 | 16:23
#REF! | Flare Color |  |  | TEM Flare #3 | 7 to 3 | 16:23
#REF! | Flare Color |  |  | TEM Flare #3 | 3 to 11 | 16:23
#REF! | Flare Color |  |  | TEM Flare #3 | 11 to 7 | 16:23
#REF! | Flare Color |  |  | TEM Flare #4 | 7 to 3 | 16:23
#REF! | Flare Color |  |  | TEM Flare #4 | 3 to 11 | 16:23
#REF! | Flare Color |  |  | TEM Flare #4 | 11 to 7 | 16:23
#REF! | Flare Color |  |  | TEM Flare #5 | 7 to 3 | 16:23
#REF! | Flare Color |  |  | TEM Flare #5 | 3 to 11 | 16:23
#REF! | Flare Color |  |  | TEM Flare #5 | 11 to 7 | 16:23
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 2N Aeration Basin |  | 16:23 | YSI
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 4N Aeration Basin |  | 16:23 | YSI
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 6N Aeration Basin |  | 16:23 | YSI
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 8N Aeration Basin |  | 16:23 | YSI
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 10N Aeration Basin |  | 16:23 | YSI
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 12N Aeration Basin |  | 16:23 | YSI
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 14N Aeration Basin |  | 16:23 | YSI
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 2S Aeration Basin |  | 16:23 | YSI
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 4S Aeration Basin |  | 16:23 | YSI
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 6S Aeration Basin |  | 16:23 | YSI
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 8S Aeration Basin |  | 16:23 | YSI
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 10S Aeration Basin |  | 16:23 | YSI
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 12S Aeration Basin |  | 16:23 | YSI
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 14S Aeration Basin |  | 16:23 | YSI
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 2N Aeration Basin |  | 16:23 | Field Meter
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 4N Aeration Basin |  | 16:23 | Field Meter
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 6N Aeration Basin |  | 16:23 | Field Meter
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 8N Aeration Basin |  | 16:23 | Field Meter
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 10N Aeration Basin |  | 16:23 | Field Meter
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 12N Aeration Basin |  | 16:23 | Field Meter
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 14N Aeration Basin |  | 16:23 | Field Meter
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 2S Aeration Basin |  | 16:23 | Field Meter
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 4S Aeration Basin |  | 16:23 | Field Meter
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 6S Aeration Basin |  | 16:23 | Field Meter
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 8S Aeration Basin |  | 16:23 | Field Meter
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 10S Aeration Basin |  | 16:23 | Field Meter
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 12S Aeration Basin |  | 16:23 | Field Meter
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM 14S Aeration Basin |  | 16:23 | Field Meter
#REF! | Number in Service |  |  | TEM Primary Clairifiers |  | 16:23
#REF! | Number in Service |  |  | TEM ABF Towers |  | 16:23
#REF! | Large Basins in Service |  |  | Aeration Basins |  | 16:23
#REF! | Small Basins in Service |  |  | Aeration Basins |  | 16:23
#REF! | Number in Service |  |  | Secondary Clarifiers |  | 16:23
#REF! | Average Flow (MGD) | Empty | MGD | TEM Influent |  | 16:23
#REF! | Average Flow (MGD) | 0 | MGD | Aeration Basins |  | 16:23
#REF! | Average Flow (MGD) | 0 | MGD | Secondary Clarifiers |  | 16:23
#REF! | Underflow | 0 | MGD | Secondary Clarifiers |  | 16:23
#REF! | Average Flow (MGD) | Empty | MGD | Waste Activated Sludge |  | 16:23
#REF! | Max KW | 0 | KW | TEM Power |  | 16:23
#REF! | Total KW | 0 | KW | TEM Power |  | 16:23
#REF! | Temperature (Celsius) |  | Celsius | TEM ABF Towers |  | 16:23
#REF! | Temperature (Celsius) |  | Celsius | Aeration Basins |  | 16:23
#REF! | Oxygen Uptake Rate | #REF! | mg/L/hr | TEM ABF Influent |  | 16:23
#REF! | Oxygen Uptake Rate | #REF! | mg/L/hr | TEM ABF Effluent |  | 16:23
#REF! | Oxygen Uptake Rate |  | mg/L/hr | TEM Aeration Point 1 |  | 16:23
#REF! | Oxygen Uptake Rate |  | mg/L/hr | TEM Aeration Point 4 |  | 16:23
#REF! | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2A | 7 to 3 | 16:23
#REF! | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2A | 3 to 11 | 16:23
#REF! | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2A | 11 to 7 | 16:23
#REF! | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2B | 7 to 3 | 16:23
#REF! | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2B | 3 to 11 | 16:23
#REF! | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2B | 11 to 7 | 16:23
#REF! | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2C | 7 to 3 | 16:23
#REF! | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2C | 3 to 11 | 16:23
#REF! | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 2C | 11 to 7 | 16:23
#REF! | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 1 | 7 to 3 | 16:23
#REF! | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 1 | 3 to 11 | 16:23
#REF! | Temperature (Fahrenheit) |  | Fahrenheit | TEM Lagoon 1 | 11 to 7 | 16:23
#REF! | pH | #REF! | pH Units | TEM Lagoon 2A | 7 to 3 | 16:23
#REF! | pH | #REF! | pH Units | TEM Lagoon 2A | 3 to 11 | 16:23
#REF! | pH | #REF! | pH Units | TEM Lagoon 2A | 11 to 7 | 16:23
#REF! | pH | #REF! | pH Units | TEM Lagoon 2B | 7 to 3 | 16:23
#REF! | pH | #REF! | pH Units | TEM Lagoon 2B | 3 to 11 | 16:23
#REF! | pH | #REF! | pH Units | TEM Lagoon 2B | 11 to 7 | 16:23
#REF! | pH | #REF! | pH Units | TEM Lagoon 2C | 7 to 3 | 16:23
#REF! | pH | #REF! | pH Units | TEM Lagoon 2C | 3 to 11 | 16:23
#REF! | pH | #REF! | pH Units | TEM Lagoon 2C | 11 to 7 | 16:23
#REF! | pH | #REF! | pH Units | TEM Lagoon 1 | 7 to 3 | 16:23
#REF! | pH | #REF! | pH Units | TEM Lagoon 1 | 3 to 11 | 16:23
#REF! | pH | #REF! | pH Units | TEM Lagoon 1 | 11 to 7 | 16:23
#REF! | pH | #REF! | pH Units | Tem Return Sludge | 7 to 3 | 16:23
#REF! | pH | #REF! | pH Units | Tem Return Sludge | 3 to 11 | 16:23
#REF! | pH | #REF! | pH Units | Tem Return Sludge | 11 to 7 | 16:23
#REF! | pH | #REF! | pH Units | TEM Primary Waste Sludge | 7 to 3 | 16:23
#REF! | pH | #REF! | pH Units | TEM Primary Waste Sludge | 3 to 11 | 16:23
#REF! | pH | #REF! | pH Units | TEM Primary Waste Sludge | 11 to 7 | 16:23
#REF! | pH | #REF! | pH Units | TEM Lagoon Manhole | 7 to 3 | 16:23
#REF! | pH | #REF! | pH Units | TEM Lagoon Manhole | 3 to 11 | 16:23
#REF! | pH | #REF! | pH Units | TEM Lagoon Manhole | 11 to 7 | 16:23
#REF! | pH | #REF! | pH Units | TEM Sec Dewatering Filtrate | 7 to 3 | 16:23
#REF! | pH | #REF! | pH Units | TEM Sec Dewatering Filtrate | 3 to 11 | 16:23
#REF! | pH | #REF! | pH Units | TEM Sec Dewatering Filtrate | 11 to 7 | 16:23
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM ABF Tower 1 |  | 16:23
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM ABF Tower 2 |  | 16:23
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM ABF Tower 3 |  | 16:23
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM ABF Tower 4 |  | 16:23
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM ABF Tower 5 |  | 16:23
#REF! | Dissolved Oxygen | #REF! | mg/L | TEM ABF Tower 6 |  | 16:23
#REF! | pH (Min) | 0 | pH Units | TEM Final Effluent |  | 16:23
#REF! | pH (Max) | 0 | pH Units | TEM Final Effluent |  | 16:23
#REF! | Average Flow (CFD) |  | CFD | TEM Lagoon Blower Building 1 |  | 16:23
#REF! | Average Flow (CFD) |  | CFD | TEM Lagoon Blower Building 2 |  | 16:23
#REF! | Number in Service |  |  | Blowers |  | 16:23
#REF! | Maximum Flow (MGD) | 0 | MGD | TEM Influent |  | 16:23
#REF! | Minimum Flow (MGD) | 0 | MGD | TEM Influent |  | 16:23
#REF! |  |  | Fahrenheit | TEM Flare #1 | 11 to 7 | 16:23
#REF! | #REF! |  | Fahrenheit | TEM Flare #1 | 7 to 3 | 16:23
#REF! | #REF! |  | Fahrenheit | TEM Flare #1 | 3 to 11 | 16:23
#REF! |  |  | Fahrenheit | TEM Flare #2 | 11 to 7 | 16:23
#REF! |  |  | Fahrenheit | TEM Flare #2 | 7 to 3 | 16:23
#REF! |  |  | Fahrenheit | TEM Flare #2 | 3 to 11 | 16:23
#REF! |  |  | Fahrenheit | TEM Flare #3 | 11 to 7 | 16:23
#REF! |  |  | Fahrenheit | TEM Flare #3 | 7 to 3 | 16:23
#REF! |  |  | Fahrenheit | TEM Flare #3 | 3 to 11 | 16:23
#REF! |  |  | Fahrenheit | TEM Flare #4 | 11 to 7 | 16:23
#REF! |  |  | Fahrenheit | TEM Flare #4 | 7 to 3 | 16:23
#REF! |  |  | Fahrenheit | TEM Flare #4 | 3 to 11 | 16:23
#REF! |  |  | Fahrenheit | TEM Flare #5 | 11 to 7 | 16:23
#REF! |  |  | Fahrenheit | TEM Flare #5 | 7 to 3 | 16:23
#REF! |  |  | Fahrenheit | TEM Flare #5 | 3 to 11 | 16:23
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 11 to 7 | 0:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 11 to 7 | 1:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 11 to 7 | 2:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 11 to 7 | 3:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 11 to 7 | 4:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 11 to 7 | 5:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 11 to 7 | 6:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 7 to 3 | 7:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 7 to 3 | 8:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 7 to 3 | 9:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 7 to 3 | 10:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 7 to 3 | 11:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 7 to 3 | 12:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 7 to 3 | 13:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 7 to 3 | 14:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 3 to 11 | 15:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 3 to 11 | 16:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 3 to 11 | 17:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 3 to 11 | 18:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 3 to 11 | 19:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 3 to 11 | 20:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 3 to 11 | 21:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 3 to 11 | 22:00
#REF! | Hydrogen Sulfide |  | ppm | Biorem Outlet H2S | 11 to 7 | 23:00

## Date
Date | MM/DD/YYYY
* The date must be entered in MM/DD/YYYY format

## How To
Color | Meaning
Do not edit directly
** All manually-entered times must be entered in HH:MM format military time